## Instructions & Legend
Redundancy Analysis & SPOF Assessment - Instructions
Document ID: | ISMS-IMP-A.5.30.S2
Assessment: | Redundancy Analysis & SPOF
Version: | 1.0
Generated: | 08.02.2026 11:48
PURPOSE
Assess redundancy coverage, identify Single Points of Failure (SPOFs), and measure RTO compliance. Use this assessment to: • Identify critical systems lacking adequate redundancy • Document and track SPOFs requiring mitigation • Measure RTO compliance (failover capability vs business requirements) • Track evidence for audit compliance • Obtain formal approval from stakeholders
ASSESSMENT WORKFLOW
1. Populate Redundancy_Inventory (document redundancy status)
2. Complete SPOF_Register (identify and track SPOFs)
3. Assess RTO_Compliance (compare requirements vs capability)
4. Document evidence in Evidence_Register (minimum 5 items)
5. Review Summary dashboard
6. Complete Approval_Sign_Off (3-level workflow)
STATUS INDICATOR LEGEND
✅ | Implemented / Success / Yes
❌ | None / Failure / No
⚠ | Partial / Warning
⏳ | In Progress / Pending
🔴 | Critical Risk
🟡 | Medium Risk
🟢 | Low Risk

## Summary
REDUNDANCY & SPOF ANALYSIS DASHBOARD
Assessment Date: 08.02.2026 ¦ Assessment ID: ISMS-IMP-A.5.30.S2
REDUNDANCY COVERAGE
Total Systems:
Systems with Redundancy:
Overall Coverage:
Critical Systems (RTO < 4h):
Critical with Redundancy:
Critical Coverage:
SINGLE POINTS OF FAILURE (SPOF)
Total SPOFs Identified:
SPOFs Mitigated:
SPOFs In Progress:
Open SPOFs:
Critical Open SPOFs:
Mitigation Rate:
RTO COMPLIANCE
Total Systems:
Systems Compliant:
Systems Non-Compliant:
Systems Not Tested:
RTO Compliance Rate:
Critical Compliance Rate:
KEY ACTIONS
• Address 🔴 Critical Open SPOFs immediately (30-day target)
• Review systems with ❌ None redundancy (especially Tier 1)
• Test all systems marked ➖ Not Tested (failover testing required)
• Address RTO gaps (actual failover time > requirement)
• Target: 100% redundancy for Critical systems (RTO < 4h)
• Document minimum 5 evidence items in Evidence_Register

## Redundancy_Inventory
REDUNDANCY INVENTORY & STATUS
Document redundancy status for all systems requiring RTO < 4 hours
System Name | Criticality Tier | RTO Requirement (hours) | Redundancy Status | Architecture Type | Failover Type | Geographic Redundancy | Last Failover Test | Test Result | Notes
E-Commerce Website | Tier 1 - Critical | 2 | ✅ Implemented | Active-Passive | Automatic | ✅ Yes | 10.11.2025 | ✅ Success | Multi-site, 100km separation, automatic failover in 30 min
Email System | Tier 1 - Critical | 4 | ⚠ Partial | None | None | ❌ No |  | ➖ Not Tested | Single server - backup restore only (12h RTO vs 4h requirement)
Payment Gateway | Tier 1 - Critical | 1 | ✅ Implemented | Active-Active | Automatic | ✅ Yes | 09.01.2026 | ✅ Success | Cloud multi-region, load balanced, automatic failover
File Server | Tier 2 - Important | 12 | ❌ None | None | None | ❌ No |  | ➖ Not Tested | Single server - acceptable RTO with restore (8h restore < 12h RTO)
Database Cluster | Tier 1 - Critical | 0.25 | ✅ Implemented | N+1 Cluster | Automatic | ❌ No | 10.12.2025 | ✅ Success | 5-node cluster (4+1), local HA only, no geo-redundancy
ERP System | Tier 2 - Important | 8 | ⏳ In Progress | Active-Passive | Manual | ❌ No |  | ➖ Not Tested | DR site setup in progress, manual failover procedure documented
Document Repository | Tier 2 - Important | 24 | ❌ None | None | None | ❌ No |  | ➖ Not Tested | Cloud SaaS with provider redundancy (99.9% SLA)
Development Server | Tier 4 - Low | 72 | ❌ None | None | None | ➖ N/A |  | ➖ Not Tested | Non-critical dev environment, no redundancy required
REDUNDANCY COVERAGE METRICS
Total Systems:
Systems with Redundancy:
Redundancy Coverage %:
Critical Systems (RTO < 4h):
Critical with Redundancy:
Critical Coverage %:

## SPOF_Register
SINGLE POINT OF FAILURE (SPOF) REGISTER
Track identified SPOFs and mitigation progress
SPOF ID | System Affected | SPOF Component | SPOF Type | Risk Level | Mitigation Status | Mitigation Plan | Owner | Target Date
SPOF-001 | E-Commerce Website | Single ISP connection | Network | 🔴 Critical | ⏳ In Progress | Add second ISP (multi-homed BGP) | Network Engineer | 09.05.2026
SPOF-002 | Email System | Single Exchange server | Hardware | 🔴 Critical | ❌ Open | Implement DAG (Database Availability Group) | Infrastructure Manager | 07.08.2026
SPOF-003 | Payment Gateway | Single cloud region | Cloud Provider | 🟡 Medium | ✅ Mitigated | Deployed multi-region active-active | Cloud Architect | 09.01.2026
SPOF-004 | Database Cluster | Single power feed | Power | 🟡 Medium | ⏳ In Progress | Install generator + dual UPS | Facilities Manager | 09.04.2026
SPOF-005 | File Server | Single storage array | Storage | 🟢 Low | ✅ Mitigated | Configured RAID 10 | Storage Admin | 10.12.2025
SPOF-006 | DNS | Single DNS server | DNS | 🔴 Critical | ✅ Mitigated | Deployed secondary DNS server | Network Team | 25.12.2025
SPOF-007 | Load Balancer | Single F5 load balancer | Load Balancer | 🔴 Critical | ⏳ In Progress | Deploy HA pair (active-passive) | Network Engineer | 08.06.2026
SPOF-008
SPOF-009
SPOF-010
SPOF-011
SPOF-012
SPOF-013
SPOF-014
SPOF-015
SPOF-016
SPOF-017
SPOF-018
SPOF-019
SPOF-020
SPOF-021
SPOF-022
SPOF-023
SPOF-024
SPOF-025
SPOF-026
SPOF-027
SPOF-028
SPOF-029
SPOF-030
SPOF-031
SPOF-032
SPOF-033
SPOF-034
SPOF-035
SPOF-036
SPOF-037
SPOF-038
SPOF-039
SPOF-040
SPOF-041
SPOF-042
SPOF-043
SPOF-044
SPOF-045
SPOF-046
SPOF-047
SPOF-048
SPOF-049
SPOF-050
SPOF-051
SPOF-052
SPOF-053
SPOF-054
SPOF-055
SPOF-056
SPOF-057
SPOF-058
SPOF-059
SPOF-060
SPOF-061
SPOF-062
SPOF-063
SPOF-064
SPOF-065
SPOF-066
SPOF-067
SPOF-068
SPOF-069
SPOF-070
SPOF-071
SPOF-072
SPOF-073
SPOF-074
SPOF-075
SPOF-076
SPOF-077
SPOF-078
SPOF-079
SPOF-080
SPOF-081
SPOF-082
SPOF-083
SPOF-084
SPOF-085
SPOF-086
SPOF-087
SPOF-088
SPOF-089
SPOF-090
SPOF-091
SPOF-092
SPOF-093
SPOF-094
SPOF-095
SPOF-096
SPOF-097
SPOF-098
SPOF-099
SPOF-100
SPOF SUMMARY
Total SPOFs Identified:
SPOFs Mitigated:
SPOFs In Progress:
Open SPOFs:
Critical Open SPOFs:
Mitigation Rate:

## RTO_Compliance
RTO COMPLIANCE ASSESSMENT
Compare RTO requirements vs actual tested failover time
System Name | Criticality Tier | RTO Requirement (hours) | Actual Failover Time (hours) | RTO Compliant | Gap (hours) | Notes
E-Commerce Website | Tier 1 - Critical | 2 | 0.5 |  |  | Active-Passive tested at 30 min
Email System | Tier 1 - Critical | 4 | 12 |  |  | Restore from backup exceeds RTO (no redundancy)
Payment Gateway | Tier 1 - Critical | 1 | 0.08 |  |  | Active-Active failover in 5 minutes
File Server | Tier 2 - Important | 12 | 8 |  |  | Restore tested at 8 hours
Database Cluster | Tier 1 - Critical | 0.25 |  |  |  | Failover not yet tested (assumed < 15 min)
ERP System | Tier 2 - Important | 8 |  |  |  | DR site in progress, not tested
Document Repository | Tier 2 - Important | 24 |  |  |  | Cloud SaaS provider SLA 99.9%
RTO COMPLIANCE METRICS
Total Systems:
Systems Compliant:
Systems Non-Compliant:
Systems Not Tested:
RTO Compliance Rate:
Critical Compliance Rate:

## Evidence_Register
EVIDENCE REGISTER
Document all evidence supporting this assessment (MINIMUM 5 items required)
Evidence ID | Evidence Type | Description | Related Sheet/Row | Location/Path | Date Collected | Collected By | Verification Status
EVD-001 | Architecture Diagram | E-Commerce redundancy architecture (Active-Passive) | Redundancy_Inventory/Row 5 | /evidence/redundancy/ecommerce_architecture.pdf | 08.02.2026 | Solutions Architect | ✅ Verified
EVD-002 | Test Result | Failover test report for E-Commerce (30 min RTO achieved) | Redundancy_Inventory/Row 5 | /evidence/redundancy/failover_test_2024-01-10.pdf | 08.02.2026 | QA Team | ✅ Verified
EVD-003 | Screenshot | Payment Gateway multi-region deployment status | Redundancy_Inventory/Row 8 | /evidence/redundancy/payment_multiregion.png | 08.02.2026 | Cloud Admin | ✅ Verified
EVD-004 | Config File | Database cluster configuration (5-node N+1) | Redundancy_Inventory/Row 10 | /evidence/redundancy/db_cluster_config.xml | 08.02.2026 | DBA | ✅ Verified
EVD-005 | Report | SPOF analysis summary from infrastructure review | SPOF_Register/Multiple | /evidence/redundancy/spof_analysis_report.pdf | 08.02.2026 | Infrastructure Manager | ⏳ Pending
EVD-006
EVD-007
EVD-008
EVD-009
EVD-010
EVD-011
EVD-012
EVD-013
EVD-014
EVD-015
EVD-016
EVD-017
EVD-018
EVD-019
EVD-020
EVD-021
EVD-022
EVD-023
EVD-024
EVD-025
EVD-026
EVD-027
EVD-028
EVD-029
EVD-030
EVD-031
EVD-032
EVD-033
EVD-034
EVD-035
EVD-036
EVD-037
EVD-038
EVD-039
EVD-040
EVD-041
EVD-042
EVD-043
EVD-044
EVD-045
EVD-046
EVD-047
EVD-048
EVD-049
EVD-050
EVD-051
EVD-052
EVD-053
EVD-054
EVD-055
EVD-056
EVD-057
EVD-058
EVD-059
EVD-060
EVD-061
EVD-062
EVD-063
EVD-064
EVD-065
EVD-066
EVD-067
EVD-068
EVD-069
EVD-070
EVD-071
EVD-072
EVD-073
EVD-074
EVD-075
EVD-076
EVD-077
EVD-078
EVD-079
EVD-080
EVD-081
EVD-082
EVD-083
EVD-084
EVD-085
EVD-086
EVD-087
EVD-088
EVD-089
EVD-090
EVD-091
EVD-092
EVD-093
EVD-094
EVD-095
EVD-096
EVD-097
EVD-098
EVD-099
EVD-100

## Approval_Sign_Off
ASSESSMENT APPROVAL & SIGN-OFF
ASSESSMENT SUMMARY
Assessment Document: | Redundancy Analysis & SPOF Assessment
Assessment ID: | ISMS-IMP-A.5.30.S2
ISO 27001:2022 Control: | A.5.30 (Information Backup)
Assessment Period: | [USER INPUT]
Redundancy Coverage:
SPOF Mitigation Rate:
RTO Compliance Rate:
Critical Open SPOFs:
Evidence Items:
Assessment Status: | [SELECT]
LEVEL 1: ASSESSMENT COMPLETED BY
Name:
Role:
Date:
Signature:
LEVEL 2: REVIEWED BY (ISO)
Name:
Date:
Recommendation:
LEVEL 3: APPROVED BY (CISO)
Name:
Date:
Decision:
NEXT REVIEW
Next Review Date: