## Instructions & Legend
ISMS-IMP-A.7.8.S1 - Equipment Siting Assessment ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Document Information
Document ID | ISMS-IMP-A.7.8.S1
Workbook Title | Equipment Siting Assessment
Control Reference | ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Version | 1.0
Assessment Date
Completed By
Organisation
Instructions
1. Complete Sheet 2 (Equipment Locations) — inventory all locations with equipment.
2. Complete Sheet 3 (Environmental Assessment) for each location.
3. Complete Sheet 4 (Physical Security) for each location.
4. Complete Sheet 5 (Power Infrastructure) for each location.
5. Complete Sheet 6 (Workstation Security) for office areas.
6. Document evidence in Sheet 7 (Evidence Register).
7. Review Sheet 8 (Summary Dashboard) for compliance scores.
8. Obtain approvals in Sheet 9 (Approval Sign-Off).
Status Legend
Symbol | Status | Description
✓ | Compliant / Complete | Requirement fully met
⚠ | Partial / In Progress | Partially met or in progress
✗ | Non-Compliant / Not Started | Requirement not met
— | Not Applicable | Not applicable to this assessment

## Equipment Locations
EQUIPMENT LOCATIONS INVENTORY Policy Requirement: Equipment should be sited securely and protected
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Location ID | Location Name | Location Type | Building/Address | Equipment Types | Criticality Tier | Access Control Type | Environmental Monitoring | CCTV Coverage | UPS Protected | Last Inspection | Compliance Status | Notes
Sample — delete before use

## Environmental
ENVIRONMENTAL ASSESSMENT Policy Requirement: Equipment should be protected from environmental threats
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Location ID | Location Name | Temperature Range | Humidity Range | Temperature Monitoring | Flood Risk | Fire Suppression | Dust/Contamination | Vibration Exposure | Food/Drink Prohibited | Incidents (12 months) | Compliance Status | Notes
Sample — delete before use

## Physical Security
PHYSICAL SECURITY ASSESSMENT Policy Requirement: Equipment should be protected by appropriate physical security measures
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Location ID | Location Name | Access Control System | Access Levels Defined | Log Retention (Days) | CCTV System | CCTV Retention (Days) | Equipment Locking | Cable Protection | Asset Labels | Segregation | Last Security Review | Compliance Status | Notes
Sample — delete before use

## Power Infrastructure
POWER INFRASTRUCTURE ASSESSMENT Policy Requirement: Equipment should be protected from power failures
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Location ID | Location Name | UPS Coverage | UPS Runtime (min) | Generator Backup | Surge Protection | Lightning Protection | EPO Switch | Power Redundancy | Last UPS Test | Last Generator Test | Power Incidents (12m) | Compliance Status | Notes
Sample — delete before use

## Workstation Security
WORKSTATION SECURITY ASSESSMENT Policy Requirement: Screens should be positioned to prevent unauthorised viewing
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
Area ID | Area Name | Workstation Count | Data Sensitivity | Screen Positioning | Privacy Screens | Automatic Lock | Clear Desk Policy | Visitor Access | Shoulder Surfing Risk | Last Review | Compliance Status | Notes
Sample — delete before use

## Evidence Register
EVIDENCE REGISTER
Document all evidence collected during this assessment
Evidence ID | Evidence Type | Description | Related Sheet/Item | Collection Date | Collected By | Retention Period | Notes
EV-001 | Screenshot | Sample — delete before use

## Summary Dashboard
EQUIPMENT SITING — SUMMARY DASHBOARD
ISO/IEC 27001:2022 — Control A.7.8: Equipment Siting and Protection
TABLE 1: ASSESSMENT AREA COMPLIANCE OVERVIEW
Assessment Area | Total Items | Compliant | Partial | Non-Compliant | N/A | Compliance %
Equipment Locations
Environmental
Physical Security
Power Infrastructure
Workstation Security
TOTAL
TABLE 2: KEY METRICS
Metric | Value
Total Equipment Locations Assessed
Tier 1 Critical Locations
Locations with No Access Control
Locations with No CCTV Coverage
Locations with No UPS (Equipment)
Locations with No Environmental Monitoring
High Flood Risk Locations
Locations with No Fire Suppression
Locations with Exposed Cabling
Locations with No Equipment Locking
Locations with No UPS (Power Infra)
Locations on Single Feed Only
High-Sensitivity Workstations (PII/Financial)
Workstations with At-Risk Screen Positioning
Workstations with No Screen Lock Configured
Total Workstations Assessed
TABLE 3: CRITICAL FINDINGS REQUIRING IMMEDIATE ATTENTION
Category | Finding | Count | Severity | Action Required
Equipment Locations | Locations with no access control |  | Critical | Immediate
Equipment Locations | Locations with no CCTV coverage |  | Critical | Immediate
Environmental | High flood risk locations |  | Critical | Immediate
Environmental | Locations with no fire suppression |  | Critical | Immediate
Physical Security | Locations with exposed cabling |  | High | Urgent
Physical Security | Locations with no equipment locking |  | High | Urgent
Workstation Security | Workstations with no screen lock configured |  | High | Urgent
Workstation Security | Workstations with at-risk screen positioning |  | High | Urgent
Power Infrastructure | Locations with no UPS coverage |  | Medium | Plan
Power Infrastructure | Locations on single power feed only |  | Medium | Plan

## Approval Sign-Off
ASSESSMENT APPROVAL AND SIGN-OFF
ISO/IEC 27001:2022 - Control A.7.8: Equipment Siting and Protection
ASSESSMENT SUMMARY
Document: | ISMS-IMP-A.7.8.S1 - Equipment Siting Assessment
Assessment Period:
Overall Compliance Rating:
Assessment Status:
Assessed By:
COMPLETED BY (ASSESSOR)
Name:
Title:
Date:
Signature:
Comments:
REVIEWED BY (INFORMATION SECURITY OFFICER)
Name:
Title:
Date:
Signature:
Comments:
APPROVED BY (CISO)
Name:
Title:
Date:
Signature:
Comments:
FINAL DECISION:
NEXT REVIEW DETAILS
Next Review Date:
Review Responsible:
Special Considerations: